import streamlit as st

import pandas as pd

# --- PAGE CONFIG ---

st.set_page_config(page_title="Solar AI Fault Predictor", page_icon="☀️", layout="centered")

# --- CUSTOM STYLING ---

st.markdown("""

<style>

.main { background-color: #f5f7f9; }

.stButton>button { width: 100%; border-radius: 5px; height: 3em; background-color: #008000; color: white; }

.result-box { padding: 20px; border-radius: 10px; background-color: #ffffff; border-left: 5px solid #008000; }

</style>

""", unsafe_allow_html=True)

# --- HEADER ---

st.title("☀️ Solar System AI Fault Predictor")

st.subheader("Professional Diagnostic Wizard (Kenya Context)")

st.write("Answer the following questions to diagnose your solar system's health.")

# --- STEP 1: INPUT SECTION ---

with st.expander("Step 1: System & Environment Details", expanded=True):

col1, col2 = st.columns(2)

with col1:

weather = st.selectbox("Current Weather", ["Sunny", "Cloudy", "Rainy"])

time_of_day = st.selectbox("Time of Day", ["Morning", "Noon", "Evening", "Night"])

with col2:

battery_type = st.selectbox("Battery Type", ["Lead-acid", "AGM/Gel", "Lithium (LiFePO4)"])

battery_age = st.number_input("Battery Age (Years)", min_value=0.0, max_value=20.0, value=2.0)

with st.expander("Step 2: Symptoms & Alarms", expanded=True):

is_charging = st.radio("Is the system currently charging?", ["Yes", "No", "Weak/Slow"])

inverter_alarm = st.checkbox("Is the Inverter showing an Alarm/Red Light?")

fast_discharge = st.checkbox("Does the battery drain very quickly at night?")

panel_shading = st.selectbox("Is there shading on panels?", ["No Shading", "Partial Shading", "Heavy Shading"])

# --- STEP 2: DIAGNOSTIC LOGIC (ENGINEERING BRAIN) ---

def diagnose_faults(w, t, b_type, b_age, charge, alarm, discharge, shade):

# Logic 1: Battery Failure

if charge == "No" and alarm == True and b_age > 3 and b_type != "Lithium":

return {

"name": "Battery End-of-Life (Sulfation)",

"conf": 90,

"reason": "Lead-acid batteries in Kenya typically last 2-4 years due to high ambient heat.",

"action": "Perform a load test. If voltage drops below 11V under load, replace with Lithium.",

"severity": "High"

}

# Logic 2: Soiling/Dust

if w == "Sunny" and charge == "Weak/Slow" and shade == "No Shading":

return {

"name": "Panel Soiling (Dust Accumulation)",

"conf": 75,

"reason": "High dust levels (common in Rift Valley/Eastern regions) can reduce output by 30%.",

"action": "Clean panels with water and a soft brush early in the morning.",

"severity": "Low"

}

# Logic 3: Inverter Overload/Fault

if alarm == True and t == "Noon":

return {

"name": "Inverter Thermal Derating",

"conf": 80,

"reason": "The inverter is likely overheating or the load exceeds the surge capacity.",

"action": "Check ventilation. Reduce heavy loads (Pumps/Iron) during peak heat.",

"severity": "Medium"

}

# Default: Healthy

return {

"name": "System Appears Healthy",

"conf": 95,

"reason": "Input parameters are within normal operating ranges for Kenya.",

"action": "Continue regular monthly cleaning and cable inspections.",

"severity": "None"

}

# --- STEP 3: OUTPUT SECTION ---

if st.button("RUN AI DIAGNOSIS"):

result = diagnose_faults(weather, time_of_day, battery_type, battery_age, is_charging, inverter_alarm, fast_discharge, panel_shading)

st.divider()

st.markdown(f"### 🔍 Diagnosis: **{result['name']}**")

# Display Result Cards

c1, c2, c3 = st.columns(3)

c1.metric("Confidence", f"{result['conf']}%")

c2.metric("Severity", result['severity'])

c3.info(f"**Reason:** {result['reason']}")

st.success(f"**✅ Recommended Action:** {result['action']}")

# --- FOOTER ---

st.sidebar.markdown("---")

st.sidebar.info("Developed by: Bramwel Anguza\n\n*Targeting Green Energy Transition in Kenya*")